## Slide 1: UHPSFC-MS Trimyristin (RICC)
TR = 1.12 min
TR = 1.22 min
TR = 1.32 min
Molecular Formula: C43H82O6
Exact Mass: 694.6
Molecular Formula: C47H90O6
Exact Mass: 750.7
Notes: UHPSFC-MS = Ultra high performance supercritical fluid carbon dioxide (liquid chromatography) – (electrospray ionisation) mass spectrometry
A version of LC-MS, similar to HPLC-MS, except using super-critical fluid CO2 as the chromatography eluent (it’s a system we have with a special protocol that works very well for triglycerides). TR = retention time.
The major peak is trimyristin (triglyceride of glycerol + myristic acid). The other two are variations, one missing 2xCH2 on one hydrocarbon chain (lauric acid), and the other with two extra CH2 in one hydrocarbon chain (palmitic acid). This represents a true natural mixture in the recrystallised “trimyristin”, showing how even nature isn’t a perfect chemist.

## Slide 2: Positive ion ESI-MS Trimyristin
m/z 740
[M + NH4]+
m/z 712
[M + NH4]+
m/z 768
[M + NH4]+
Notes: This is standard electrospray ionisation (ESI) of each of those three peaks, as the quasi-molecular ion, [M + NH4]+.

## Slide 3: GC-MS of nutmeg oils, Total Ion Current Chromatogram (TICC)
TR = 14.62 min
Notes: Gas Chromatography-mass spec (GC-MS) analysis of the oil left after evaporation of the filtrate (nutmeg oil). Usually nutmeg oil is extracted separately by steam distillation, but the composition is similar. It should be a yellow/orange oil, but the oil I recovered from the yellow solution, was orange/brown.
There are over 30 different compounds in nutmeg oil (see the research paper for a list), including several aromatic ethers (e.g. myristicin, safrole), terpenes (e.g. limonene, alpha-pinene), terpene alcohols (e.g. terpineol), and other compounds. One of the largest components is the hallucinogen, myristicin, with a retention time (TR) in our GC of 14.62 min.

## Slide 4: 70 eV electron ionisation mass spectrum (EI-MS) TR = 14.62 min
192.13
165.08
161.05
M+•
Notes: Myristicin fragments in Electron-Ionisation Mass Spec (EI-MS), the most easily identifiable fragments (highlighted) being loss of the CH3O or alkene group, but the molecular ion is still very strong.
We introduce the molecular ion to undergraduates as a radical cation, but I presume it is introduced as a cation only at A-level.
See the PNG image showing the fragmentation, with both a summary and the mechanisms too, although I expect the mechanisms are beyond A-level.

## Slide 5: TR = 14.62 min EI-MS NIST library match
EI-MS of myristicin
Library Match
Difference
Notes: Can search the National Institute of Standards and Technology database (http://webbook.nist.gov/chemistry/) or other libraries for a spectrum match (IR, MS etc.). Library/database matching is invaluable, both in natural product identification, and in forensic analysis (scene-of-crime, drug detection/doping analysis, environmental pollution).